Woodhouse Mast Project (RUTTERS)

Northern Powergrid – Interserve - Enterprise

| Drawing arrangement description | Pole arrangement drawing number (Drawings to be quoted on Line schedules, and Line profiles, used to construct pole to on site) | Pole Fabrication drawing number (Drawings to be quoted on order to Pole fabricators, used by pole fabricators) | Default pole Sinking Depths |
| --- | --- | --- | --- |
| Single Pole Intermediate | 1091380006 sht1 | 1091380006 sht2 | 2.6m |
| Rutter Pole Intermediate | 1091390016 sht1 | 1091390008 sht2 | 3.2m |
| Rutter St Line Section Pole | 1091390016 sht1 | 1091390008 sht2 | 3.2m |
| Single Pole Straight Line Section / Section Angle Pole up to 20° | 1091390013 sht1 | 1091390003 sht2 | 2.4m |
| Single Pole Section Angle Pole 20° - 40° | 1091390014 sht1 | 1091390003 sht2 | 2.4m |
| Single Pole Section Angle Pole 40° -60° | 1091390015 sht1 | 1091390003 sht2 | 2.4m |
| H Pole Section Angle Pole 40° - 60° | 1091390018 sht1 | 1091390018 sht2 | 2.4m |
| H Pole Terminal Pole – No cable termination up to 132kV | 1091390019 sht1 | 1091390019 sht2 | 2.4m |
| H Pole Terminal Pole – Cable termination (up to 66kV only) | 1091231173 sht4 | 1091231173 sht5 | 2.4m |
| H Pole St Line Section Pole | 1091390020 sht1 | 1091390018 sht2 | 2.4m |
| H Pole St Line Section Pole (Out of Balance stays) | 1091390021 sht1 | 1091390018 sht2 | 2.4m |
| H Pole Intermediate (post Insulators) | 1091390022 sht1 | 1091390018 sht2 | 2.4m |