## Scottish Power - Freedom
Drawing number | Issue/Rev. | Description | Variations of fabrication drawing TO BE CONFIRMED WITH CUSTOMER BEFORE ORDER IS ENTERED ONTO SYSTEM |  | Minimum tip diameter before fabrication
MNW 11D 12001 - 071 A3 |  | 33kV Intermediate & Section Poles | Intermediate | Angle Section | Intermediate - Standard BS1990 | Angle/Section - 222mm
MNW 11D 12001 - 072 A3 |  | 33kV Terminal H Poles |  |  | Standard BS1990
MNW 11D 12001 - 083 A3 |  | 33kV H Section Poles |  |  | 200mm
MNW 11D 12001 - 082 A3 |  | 33kV Single Poles |  |  | Standard BS1990
SP4009850 | 2 | 33kV Heavy Construction Single Poles |  |  | Standard BS1990
SP4009851 | 2 | 33kV Heavy Construction H Poles |  |  | Standard BS1990
SP4000590 | 3 | 11kV H Poles |  |  | Standard BS1990
SP4009847 | 2 | 33kV Single Poles |  |  | Standard BS1990
SP4009848 | 2 | 33kV 'H' Poles |  |  | Standard BS1990